Resilience Hub Site Evaluation Checklist

Site Evaluated: ____________________________________________

Site Evaluation Date: ______________________________________

Evaluators:_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Purpose:

To assess a site’s existing physical and staff capacity with the purpose of potentially adding services or making changes to facilities or operations to serve the surrounding neighborhood as a Resilience Hub.

Definition of Resilience Hub:

Resilience hubs are community-focused facilities that enhance residents’ resilience, emergency preparedness, and health. Resilience hubs offer emergency services, like shelter, power, food, and water during disasters and provide resources and programming during everyday operations. These hubs ensure vulnerable populations have equitable access to resources and can recover from disasters.

Important Partners for Site Evaluation:

- Site owner

- Site operator

- Site maintenance/facilities staff

- Neighborhood Resilience Hub Advisory Committee

- Resilience hub planning partners

Instructions:

Walk through the site and answer the following questions. Please detail how the planned expansion of ULGSO’s site may affect these topics.

Resilient Structure & Site

BUILDING

- When was the building constructed? Dates of major renovations?

- Are there areas of disrepair or damage?

- Does the disrepair affect the services and programming provided?

- Has any floor ever experienced flooding or leaking?

- Is there water storage onsite? For example: space for water bottles, large tanks to stretch water supply, etc.? Is there rainwater storage for non-potable uses?

- Has any floor ever experienced sewer backflow? Are there backflow prevention devices in use?

- How much open space is there currently and anticipated post-expansion?

- Is plumbing and hot water reliable?

- Are there kitchen facilities on-site? Describe means for cooking meals and refrigeration.

- Take note of rooms that are underutilized or could be used for varying purposes at different times of day.

- Is there a designated space for deliveries (docks, mailboxes, etc.)? How much?

- Is there designated space for storage? How much?

- Is the building ADA compliant? Check for features like ramps, elevators, handrails, wide walkways, adequate lighting, braille signage.

- What condition is the roof in? If available, when was it installed or last replaced/patched? How much roof space is available?

- Is there a means for tool check-out? If the Hub was in Disruption Mode, who would manage and track tools?

- What is building security like? If the Hub was in Disruption Mode, how would safety be ensured onsite? Is there a means to secure supplies and resources?

LANDSCAPE

- How much sun exposure does the site receive? Are any parts of the roof or future roof shaded by trees or tall buildings?

- What is the topography of the site? What areas are hard to reach because of the topography?

- Is there any landscaping or trees on the site? What condition are these plants in?

- Are there underutilized open areas now or will there be open areas post-expansion? Take note of the ground covering in these areas, is it grass, dirt, rocks, gravel, etc.?

- Is there pollution on the site?

- What type of pollution is present?

- Is the pollution widespread or limited to one area?

- Are there adequate waste containers to remedy litter?

- Is there adequate parking for cars and bikes? Are there enough disabled parking spots?

- Are there bus routes and bus stops nearby? Do these bus stops have any seating, shelter, or lighting?

- Is there any stormwater management on-site, like permeable pavers, green roofs, or other techniques to infiltrate stormwater back into the ground?

Resilient Communications:

- What established communication channels exist? How frequently are they used/updated?

  - Websites:

  - Apps:

  - Mailing lists:

  - Bulletin boards:

  - Social media:

  - Direct mailing:

  - Knowledge/information sharing with Community Council, City, partner organizations, etc.:

  - Other:

- Communications Protocol: Are there protocols for communication with the neighborhood?

- Network Infrastructure: Are the network cables category 5e, 6, or 6A? Are the network switches able to handle surges in use?

- Technology Exposure: Is conduit liquid-tight? Are enclosures for communication equipment weather-proof or is there risk of water damage?

- What is the Wi-Fi capacity? Consider the wireless coverage and speed of the network. Are there Wi-Fi problems sometimes, like random loss of internet? Do staff understand basic troubleshooting for the WiFi system?

- Off-Site Data Storage: Does the facility use cloud storage or are records, personnel data, etc. stored on computers?

- Site Security: Are there access controls or monitoring of the network/communications systems? Security solutions may be as simple as padlocks, gates, or key-card entry to critical communications/network areas.

Resilient Power

Please note that the ASHRAE Level 2 Energy audit will do an in-depth, expert-led analysis of energy.

- What fuel sources does the building use, e.g. electricity, natural gas, etc.?

- What programming and features rely on energy to function?

- In Disruption Mode, what features would need to maintain power?

Resilient Operations

- Do any staff have Community Emergency Response Team (CERT) training?

- Do staff have First Aid/CPR training?

- Is there any current community programming offered such as individual/family emergency preparedness, CPR/First Aid, etc.?

- In the event of an emergency, are there protocols for leaving the building or managing staff safely (e.g. fire drills and plans)?

- If the Resilience Hub was in Disruption Mode, who would take the Hub Manager role (lead for site management, site coordination, etc.)?

- If the Resilience Hub was in Disruption Mode, who would take the Information Coordinator role (collect/display info, monitor situation board, manage communications internally and externally)?

- If the Resilience Hub was in Disruption Mode, who would act as Medical Coordinator (coordinate medical service providers, track medical issues, manage trauma support)?

- If the Resilience Hub was in Disruption Mode, who would manage common spaces and volunteers?

- If the Resilience Hub was in Disruption Mode, who would manage food and water distribution?