## Input-Output
Pre Retrofit | [5 empty] | Post Retrofit |  |  |  |  | Estimated savings
Type of equipment to be replaced | Quantity of equipment to be replaced | Wattage of equipment to be replaced | Are there controls on the equipment to be replaced? | Total annual wattage of old equipment | #NAME? | Type of new equipment to be installed | Quantity of new equipment | Wattage of new equipment | Are there controls on new equipment? | Total annual wattage of new equipment | Annual energy savings | Annual cost savings
select from list below | # | Watts | select from list below | Kilowatts (kW) |  | select from list below | # | Watts | select from list below | Kilowatt (kW) | Kilowatt-hours (kWh) | $
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A
|  |  |  | #N/A | [5 empty] | #N/A | #N/A | #N/A

## Dropdowns
yes, occupancy controls
yes, daylight sensors
no controls
8-foot 2-lamp T12
4-foot 4-lamp T12
4-foot 2-lamp T12
4-foot 2-lamp T12 U-tube
8-foot T8 lamp
4-foot 4-lamp T8
4-foot 2-lamp T8
4-foot 2-lamp T8 with reflector
3-foot T8
2-foot 2-lamp T8 with reflector
4-foot T5
T12 Fluorescent
T8 Fluorescent without reflectors
T8 Fluorescent with reflectors
T5 Fluorescent without reflectors
T5 Fluorescent with reflectors
Halogen
Compact Fluorescent
Incandescent
Metal Halide
LED

## Reference
ESF
Wall or ceiling mounted occupancy sensor | 0.41 | http://ilsagfiles.org/SAG_files/Technical_Reference_Manual/Version_3/Final_Draft/Illinois_Statewide_TRM_Effective_060114_Version_3%200_021414_Final_Clean.pdf
Fixture mounted Occupancy sensor | 0.3 | http://ilsagfiles.org/SAG_files/Technical_Reference_Manual/Version_3/Final_Draft/Illinois_Statewide_TRM_Effective_060114_Version_3%200_021414_Final_Clean.pdf
Wall mounted "Vacancy sensors" | 0.53 | http://ilsagfiles.org/SAG_files/Technical_Reference_Manual/Version_3/Final_Draft/Illinois_Statewide_TRM_Effective_060114_Version_3%200_021414_Final_Clean.pdf
Daylight sensor | 0.28 | Lawrence Berkeley National Laboratory, 2011
No sensor | 0